## Data Collection Form
DO NOT USE THIS PAGE FOR DATA INPUT - PRINT OUT AND USE FOR DATA COLLECTION PURPOSES
Greenhouse Audit Tool
Date:
|  |  |  | Page: | 1 of 4
Company Name:
Contact Name:
Address: |  |  |  | Audited by:
City: |  |  |  | Phone #:
State:
Zip Code |  |  |  | Address:
Phone No.:
Cell phone No.:
Fax No.:
E-mail:
Fed.Tax ID #
Electric Utility: |  |  |  | Gas Utility:
2026 Greenhouse Supplemental Data Sheet |  |  |  | #VALUE!
Key
Manual Entry(You Enter)
Auto Fill(Can Manually Edit)
Current Farm Info: Required for all Greenhouse Measures
Nearest Weather data
Type of Greenhouse Structure
Manf / Brand if known
Floor Material
Greenhouse Dimensions
Ft., Bay Width
Ft., Length
Number of identical bays; Complete separate calcs for each unique greenhouse bay.
Ft., Ground to Peak height
Glazing Materials: Required for AG10438
Roof
Roof Glazing type
U-value if Type = Other | 0
| Side Wall - A |  | Side Wall - B
Side wall type
Ft., Side wall height
U-value if Type = Other | 0 |  | 0
| Curtain Wall - A |  | Curtain Wall - B | Glazing Materials | U Value
Curtain Wall Type |  |  |  | Polycarbonate, double-6mm | 0.72
Ft., Curtain wall height |  |  |  | Polycarbonate, double-8mm | 0.65
U-value, if Type = Other | 0 |  | 0 | Polycarbonate, double-16mm | 0.58
| End Wall - C |  | End Wall - D | Polycarbonate, Triple | 0.5
End Wall type |  |  |  | Poly, Double, IR inhibited | 0.5
U-value if Type = Other | 0 |  | 0 | Other | Manually Enter
| End Wall Curtain - C |  | End Wall Curtain - D
End Wall Curtain Type
Ft., End Wall Curtain height
U-value, if Type = Other | 0 |  | 0
| Gable End - C |  | Gable End - D
Gable end wall type
U-value, if Type = Other | 0 |  | 0
Perimeter
Foam Perimeter Insulation | 0 | Inches
Estimated infiltration rate | 1 | Air Changes
Infiltration Guidelines | Air Changes
New Construction: | Per Hour
Glass, Polycarbonate, | 0.75-1.5
Acrylic, Fiberglass | 0.75-1.5
Double-layer Plastic Film | 0.5-1.0
Old Construction:
Glass - Poor Condition | 2.0-4.0
Glass - Good Condition | 1.0-2.0
Heating System: Required for all Greenhouse Measures
Fuel type (Select One) | Select Fuel Type on Existing Tab
Energy Cost - $/ (Can manually edit if you know your cost) | Select Fuel Type on Existing Tab
Type of heater (Select One)
Heat Distribution Location:
Thermal Efficiency | Select Heater Type
Energy Conservation Measures - Thermal / Shade Curtains: Required for AG10442
Blanket Type used
% Energy Savings
Thermal Curtain Coverage: Required for AG10442
Roof area covered by curatin |  | %
Existing: Required for all Greenhouse Measures | [5 empty] | Examples
| Average Days of use | Percentage of space heated | Day Time - °F | Night Time - °F | Day Length - hrs (Hours Daytime setpoint is active) |  | Average Days of use | Percentage of space heated | Day Time - °F | Night Time - °F | Day Length - hrs (Hours Daytime setpoint is active)
January | [5 empty] | January | 15 | 50% | 65 | 65 | 24
February | [5 empty] | February | 28 | 75% | 72 | 65 | 24
March | [5 empty] | March | 31 | 100% | 72 | 65 | 24
April | [5 empty] | April | 30 | 100% | 72 | 65 | 24
May | [5 empty] | May | 31 | 100% | 72 | 65 | 24
June | [5 empty] | June | 30 | 100% | 85 | 65 | 24
July | [5 empty] | July | 31 | 100% | 85 | 65 | 24
August | [5 empty] | August | 31 | 100% | 85 | 65 | 24
September | [5 empty] | September | 30 | 100% | 85 | 65 | 24
October | [5 empty] | October | 31 | 100% | 72 | 65 | 24
November | [5 empty] | November | 30 | 100% | 72 | 65 | 24
December | [5 empty] | December | 31 | 50% | 65 | 65 | 24
Proposed: Required for AG10444
| Average Days of use | Percentage of space heated | Day Time - °F | Night Time - °F | Day Length - hrs (Hours Daytime setpoint is active) |  | Average Days of use | Percentage of space heated | Day Time - °F | Night Time - °F | Day Length - hrs (Hours Daytime setpoint is active)
January | [5 empty] | January | 15 | 50% | 65 | 62 | 15
February | [5 empty] | February | 28 | 75% | 72 | 62 | 15
March | [5 empty] | March | 31 | 100% | 72 | 62 | 15
April | [5 empty] | April | 30 | 100% | 72 | 62 | 15
May | [5 empty] | May | 31 | 100% | 72 | 62 | 15
June | [5 empty] | June | 30 | 100% | 85 | 62 | 15
July | [5 empty] | July | 31 | 100% | 85 | 62 | 15
August | [5 empty] | August | 31 | 100% | 85 | 62 | 15
September | [5 empty] | September | 30 | 100% | 85 | 62 | 15
October | [5 empty] | October | 31 | 100% | 72 | 62 | 15
November | [5 empty] | November | 30 | 100% | 72 | 62 | 15
December | [5 empty] | December | 31 | 50% | 65 | 62 | 15
Energy Conservation Measures - Thermal / Shade screens
Blanket Type used
% Energy Savings
Thermal Screen Coverage |  | Percent of area covered by Thermal Screen
Roof area
| A |  | B
Side walls
Curtain Side walls
| C |  | D
End walls
End wall gables
Curtain End Walls
Steam Traps
Steam System Pressure |  | psi
Steam Trap Maintenance frequency |  | Repair only when heating problem | Checked: Annually Semi-Annually Monthly
Method of checking steam traps | visual sound Temp Ultrasonic
Number of leaking Steam traps
Orifice size (check mfg data) |  | Inch (decimal)
Estimated blockage of orifice |  | (50% suggested)
Heat loss from graph |  | million Btu/yr
Heating system use per year |  | days
#VALUE!
Blanket Material | Heat Transmission Value | Heat Loss Reductiona (%) | Applications
(Btu/hr-°F-ft2)
None | 0 | 0
Other | 0
Mobile air curtain (double layer polyethylene film) | 0.68 | 20% | C/E
Stationary air curtain (aluminized PE tubes) | 0.54 | 36% | E
White-White spun bonded polyolefin film | 0.51 | 40% | C/E
Grey-White spun bonded film (heavy weight) | 0.43 | 49% | S/E
Grey-White spun bonded polyolefin film (lt. wt.) | 0.56 | 34% | S
Clear polyethylene film | 0.45 | 47% | C/E
Black polyethylene film | 0.48 | 44% | B/E
Aluminum foil-clear vinyl film laminate, 15% shading, semi-porous | 0.4 | 47% | S/E
Aluminum foil-clear vinyl film laminate, 33% shading, semi-porous | 0.4 | 49% | S/E
Aluminum foil-clear vinyl film laminate, 45% shading, semi-porous | 0.4 | 52% | S/E
Aluminum foil-clear vinyl film laminate, 55% shading, semi-porous | 0.4 | 57% | S/E
Aluminum foil-clear vinyl film laminate, 65% shading, semi-porous | 0.4 | 62% | S/E
Aluminum foil-clear vinyl film laminate, 75% shading, semi-porous | 0.4 | 67% | S/E
Aluminum foil-clear vinyl film laminate, 82% shading, semi-porous | 0.4 | 72% | S/E
Aluminum foil-black vinyl film laminate - day length control - semi porous | 0.4 | 75% | B
Aluminum foil/white-white vinyl film laminate - day length control - semi porous | 0.4 | 70% | Side wall day length
Aluminized fabric | 0.39 | 54% | (b) E/S
Other |  | Manually Enter
Double layer spun bonded polyester (tobacco shade cloth) | 0.53 | 38% | B/E
Applications: B-black out; C-climate control; E-energy savings; S-shading
(a) Compared to single glass for the same greenhouses for night time heat loss.
(b) Average of four years of test data.
From Greenhouse Engineering NRAES-33. Northeast Regional Agricultural Engineering Service, Cooperative Extension.
and LS Svensson literature
Choose One | Type of Heater
Agra Tech
Atlas | Unit Heater - Gravity Vented | 0.65
ClearSpan | Unit Heater - Power Vented | 0.78
Conley's | Unit Heater - Separated Combustion | 0.8
Cravo | Unit Heater - High Efficiency - Condensing Type | 0.93
CriderAmericas | Central heater - Hot Water | 0.8
CropKing | Central Heater - Steam | 0.8
Griffin | Central Heater - Forced Air | 0.8
Grow-it greenhouses
Jaderloon | Brand / Model of Poly with IR inhibitors
Keeler-Glasgow | AT Plastics | Thermax
Ludy | AT Plastics | Thermax Plus
Nexus | Berry Plastics Corp | Tufflite IV
OrGil | Klerks | K50 IRAC
Poly-Tex | Klerks | K3 IRAC
Rough Bros. | Ginegar Plastics | Sunsaver
Stuppy | Ginegar Plastics | Sun Selector AD-IR
United Greenhouse Systems | Ginegar Plastics | Suntherm
Van Wingerden
Westbrook
X.S. Smith
Other